# Appendix A: Experimental Error Analysis

One of the goals of the Physics 275 Lab is that you learn about error analysis and the role it plays in experimental science.  This appendix briefly reviews the topics you will need to know about error analysis.

(1) The Different types of errors

When you measure something, there are different types of errors you can make:

Illegitimate errors involve making gross mistakes in the experimental setup, in taking or recording data, or in calculating results.  Examples of illegitimate errors include: measuring time t when you were supposed to be measuring temperature T, misreading a measurement on a scale so that you think it is 2.0 when it should be 12.0, typing 2.2 into your spreadsheet when you meant to type 20.2, or using the formula "momentum = mv2" rather than "momentum = mv".

Systematic error is a repeated and consistent error that occurs in all of your measurements due to the design of the apparatus.  Examples of systematic errors include: measuring length with a ruler which is too short, measuring time with a stopwatch which runs too fast, or measuring voltage with a voltmeter which is not properly calibrated.  Systematic errors can be very difficult to detect because your results will tend to be consistent, repeatable and precise.  The best way to find a systematic error is to compare your results with results from a completely different apparatus.

Random errors involve errors in measurement due to random changes or fluctuations in the process being measured or in the measuring instrument.  Random measuring errors are very common.  For example, suppose you measure the length of an object using a ruler and cannot decide whether the length is closer to 10 or 11 mm.  If you simply cannot tell which it is closer to, then you will tend to make a random error of about ±0.5 mm in your choice.  Another example of a random error is when you try to read a meter on which the reading is fluctuating.  We say that "noise" causes the reading to change with time, and this leads to a random error in determining the true reading of the meter.

Sampling error is a special kind of random error that occurs when you make a finite number of measurements of something that can take on a range of values.  For example, the students in the university have a range of ages.  We could find the exact average age of a student in the University by averaging together the ages of all of the students.  Suppose instead that we only took a sub-group, or random sample of students, and averaged together their ages.  This sample average would not in general be equal to the exact average age of all of the students in the University.  It would tend to be more or less close to the exact average depending on how large or small the group was.   The difference between the sample average and the exact average is an example of a sampling error.  In general, the larger the sample, the closer the sample average will approach the true average.

(2) What is error analysis good for?

If you're like most students who have worked on these labs, you may find yourself wondering why you have to go through all of the trouble of using error analysis.  In science and engineering, if you don't understand why you are calculating something, then you really are wasting your time.  The most important thing to understand about error analysis is what it can do for you in the lab.  There are four main things that you should use error analysis for:

(i)  Finding silly mistakes, such as typing a wrong number into your spreadsheet, using the wrong units, entering a wrong formula, or reading a scale wrong.  These illegitimate errors must be corrected before your data can be meaningfully interpreted.

(ii)  Finding a more accurate value for a quantity by making several measurements.

(iii)  Determining the precision of your experimental results.

(iv)  Finding whether your results agree with theory or other experimental results.

It is important to realize that all of the formulas that follow only work for random errors!  Despite this, performing error analysis on the random errors in an experiment can often reveal the presence of illegitimate errors.  In fact, in these labs you will probably find this to be the most useful thing you can do with error analysis.  How to use error analysis to find illegitimate errors is discussed in section 8.

(3) How to Estimate Experimental Errors

Random experimental errors describe our limited ability to measure the true values of physical quantities.  To estimate the error in a measurement, you need to consider the equipment used in the experiment and how the measurement was made. There are just a few cases you will encounter in the labs:

Ruler: The most common case you will encounter involves using a ruler to measure a length.  Most people are able to measure to about one half or one quarter of the smallest division on the ruler.  For the rulers you use in the lab, the smallest division is usually 1 mm, so you should be able to measure to a precision of about ±0.5 mm.  If you have good eyesight, are careful reading the value, and carefully align the ruler with the object, then you might be able to measure to ±0.25 mm.  To determine whether you should use one half or one quarter of a unit as the error, you need to consider how carefully you read the scale when you took the data.

Pointer and scale: The next most common case you will encounter is taking a reading off of a scale that has a pointer that indicates the value.  Such scales are found on analog voltmeters, ammeters, pressure gauges, and thermometers.  The rule for estimating the error in such a "pointer and scale" instrument is exactly the same as for using a ruler.  Most people can read a scale to a precision of no better than about one-half to one-quarter of the smallest division marked on the scale.

Vernier calipers and instruments with vernier scales:  A vernier caliper is an instrument for measuring lengths.  It makes use of a "vernier scale" which allows one to make more accurate measurements than a simple pointer and scale apparatus.  A vernier scale can usually be read to only about ± 1 division.

Digital readouts: The next most common case involves measurements made with a digital readout.  These readouts always have a finite number of digits.  If the reading is stable, and there are no other sources of error, then the estimated experimental error can be taken as being equal to ± 1 unit on the rightmost digit on the scale.  One needs to be careful however.  Often when making a measurement, the rightmost digits on a digital scale will fluctuate randomly due to noise.  In this case, the estimated error should be taken as about ±1 unit on the rightmost digit that does not fluctuate.  Also, if you time an event with a stopwatch, you will need to take into account the fact that starting and stopping the timer is not very precise.  To determine the error in this case, you will need to take repeated measurements, as discussed below.

Determining the error from the data: The above techniques work fairly well when you only have one measurement of a quantity.  In some of the labs you make many measurements of the same quantity.  In this case, it is possible to directly determine the random experimental error in each observation, rather than simply estimating it.  Suppose you make N measurements of x, lets call them x1, x2, x3, x4, ...xN.  We will generally denote a given measurement, the i-th one, as xi.  If N is large enough, then the experimental error in one measurement can be taken as the standard deviation (see the discussion below on the standard deviation):

Δx≈σx=1(N−1)i=1Nxi−x212	[A.1]

where <x> is the average value of x, and the symbol  is the Greek letter Sigma and the notation means that the expression which follows the should be summed up while letting i range from 1 to N.  For example, suppose that you made 5 measurements (N=5) and x1=0, x2=2, x3=1.5, x4=2.5, and x5=0.5.  A simple calculation shows that the average is <x>=1.3.  The estimated error in each point is thus:

Δx≈σx=1(5−1)i=15xi−x212140−1.32+2−1.32+1.5−1.32+2.5−1.32+0.5−1.3212121.32+0.72+0.22+1.22+0.8212=1.04

Notice that x = ±1.04 is quite reasonable since this is about how far each measurement is from the average; x1=0 is 1.3 below the average, x2=2 is 0.7 above the average, x3=1.5 is 0.2 above the average, x4=2.5 is 1.2 above from the average, and x5=0.5 is 0.8 below the average.

Radioactive decay and counting random events:

Some experiments involve counting how many random events happen in a certain period of time, for example, counting how many atoms decay in a second in a radioactive material.  How can we assign an error to such a measurement?  Assigning an error can seem puzzling because in each second there is a definite integer-number of counts.  The idea is that if we repeated the measurements many times, we would tend to find a different number of counts in the same time interval, even if the sample and detector were prepared in exactly the same way.  By repeating the measurements many times, we could find the average number of counts in each time interval.  In general, the average number of decays in a given time interval will be different from the number of decays found in an individual measurement.  The difference between the average number of decays in a given interval and the number of decays found in one measurement can be though of as the error in the measurement.  For random decays, the rule is very simple; if you measure N events, then the error in the measurement is ±N1/2.  Thus if you measure 100 counts, the error is ±1001/2 = ±10 counts.

(4) How to Propagate Errors

Suppose you measure x and t and use these values to calculate a velocity v = x/t.   If you have errors in x and t, what is the error in v?  This is a problem involving the "propagation of errors".  Such problems arise whenever you need to find the error in a quantity which is itself found by combining together measurements which have errors in them.

To proceed let us first consider the simple case where v = x/t and the only error is x in x; i.e. t = 0.  Now in general, we do not know the true value of x, but if the error in x were really x, then the true value of x would be

xtrue = x+x.

In this case, the true value of the velocity is not v=x/t but rather

vtrue=(x+Δx)t.

The difference between the true value of the velocity and our calculated value v=x/t would then be:

Δv=vtrue−v=(x+Δx)t−xt=Δxt	[A.2]

This is the correct expression for the error in v.  Now notice that

∂v∂x=∂∂xxt=1t	[A.3]

If you are not familiar with the "∂/∂x" symbol you need to talk with your TA or professor.  It is a partial derivative and means that you take the ordinary derivative of v with respect to x while keeping all other variables fixed.  You need to use a partial derivative here because v is a function of more than one variable, and we want to find the change in v produced just when x is changed.  Using Equations A.3 and A.2, we can write the error in v as:

Δv=∂v∂xΔx.	[A.4]

You should recognize this as just the ordinary result from calculus for finding the change in a function v when its argument x changes by a small amount x.

Now suppose that there are random errors in both x and t, of magnitude x and t respectively, and we are trying to find the error in v = x/t.  A derivation of this result is beyond the scope of this class, and we will simply quote the answer:

Δv=∂v∂xΔx2+∂v∂tΔt212.	 [A.5]

There are three things to notice about this expression.  First, if t = 0 then it reduces to Equation A.4.  Second, this expression does not correspond to the usual rule from calculus for finding the change in a function v when x and t change by small amounts.  This is because we are assuming that the errors in x and t are random and uncorrelated, so that they can work together or oppose each other in producing changes in v.  Finally notice that this expression can be simplified by evaluating the derivatives.  We can use A.3 to replace ∂v/∂x and also use:

∂v∂t=−xt2.	[A.6]

We can then rewrite Equation A.5 as:

Δv=1tΔx2+−xt2Δt212=xΔxtx2+xtΔtt212vΔxx2+vΔtt212=vΔxx2+Δtt212	[A.7]

The above ideas can be generalized to include functions with errors in an arbitrary number of arguments.  For example, if f is a function of x, y, z, t, r, and B, and these have random errors x, y, z, t, r, and B respectively, then the error in f is just:

Δf=∂f∂xΔx2+∂f∂yΔy2+∂f∂zΔz2+∂f∂tΔt2+∂f∂rΔr2+∂f∂BΔB212	[A.8]

The following examples illustrate some special cases that you will encounter in the labs.

(i) Suppose f = ax+b, where a and b are constants and x has an uncertainty x.  The uncertainty in f can be found from Equation A.8 by noting that x is the only variable and ∂f/∂x = a.  Thus:

Δf=∂f∂xΔx212=aΔx212=aΔx.

(ii) Suppose f = x+y, where x has error x and y has error y.  Then ∂f/∂x = 1 and ∂f/∂y = 1 and:

Δf=∂f∂xΔx2+∂f∂yΔy212=(Δx)2+(Δy)2.

(iii) Suppose f = xnym, where n and m are constants.  The derivatives are just ∂f/∂x= nxn1ym = nf/x and ∂f/∂y = mxnym1 = mf/y.  Thus:

Δf=∂f∂xΔx2+∂f∂yΔy212=nfxΔx2+mfyΔy212=fn2Δxx2+m2Δyy212.

(5) The mean value <x> and the error in the mean <x>

Suppose you make N measurements of the quantity x and denote the result of the first measurement by x1, the second measurement by x2,... and the N-th measurement by xN.  The average or mean value of x is denoted by <x> and is just:

x=1Ni=1Nxi	[A.9]

ExcelTip:   In Excel you can use the command "=average" to automatically calculate the mean or average of a set of data.  For example, suppose you wanted to find the mean of some data that was in cells D13 to D27.  You would enter the command =average(D13:D27) in the cell where you want the mean to appear.

Notice that the above definition of <x> is just our normal definition of the average of a set of numbers.  Why is the mean value important?  It turns out that if all of the measurements have the same experimental uncertainty, then the mean value is the best estimate of the true value of x.

The error in the mean value can be found by propagating errors, as in section 4.  Assuming that each of the measurements xi are independent variables, and that the error in each measurement is x, one finds:

Δx=ΔxN	[A.10]

This result says that the error in the mean value, <x>,  is smaller than the error in any one measurement x, by a factor of N1/2.  For example, suppose you make 100 measurements.  The error in the mean, <x>, will be 10 times smaller than the error x in an individual measurement.  What this means is that you can obtain very precise measurements, even with imprecise instruments, provided you take many data points.

(6) The standard deviation.

Suppose you make N measurements of the quantity x and denote the result of the first measurement by x1, the second measurement by x2,... and the N-th measurement by xN.  The standard deviation of x is denoted by x and is defined to be:

σx=1N−1i=1Nxi−x212	[A.11]

Excel Tip:   In Excel you can use the command "=stdev(...)" to automatically calculate the standard deviation of a set of data.  For example, suppose you wanted to find the standard deviation of some data which was in cells D13 to D27.  You would enter the command =stdev(D13..D27) in the cell where you want the standard deviation to appear.

The standard deviation tells you how far a typical data point is from the average.  If your data has a lot of scatter in it, then you will find a large standard deviation.  If all of your measurements are practically identical, then the standard deviation will be quite small.  Typically you would expect that a given measured value of x might be different from the true value by about x, the uncertainty in the measurement.  Thus if the average value is a good estimate of the true value, you expect:

xi - <x> ≈ x

Substituting this into Equation A.11, one finds that for large N

σx≈1N−1i=1N(Δx)212=NN−1(Δx)212=(Δx)NN−112≈Δx.

Which is where Equation A.1 came from.

There are some things about x which can be confusing:

(i) Why is there a factor of (N-1) in the denominator instead of N?  To understand why there is an N-1, suppose we make just one measurement; call it x1.  In this case the average is simply <x> = x1.  Notice however that Equation A.11 says that the standard deviation is undefined because N=1.  The reason it is undefined is because with only one measurement, it is not possible to say how much spread there is in the data.  That requires at least two measurements.  Note that the Excel function Stdevp(...) uses an N in the denominator, while stdev(...) uses N-1.

(ii) Why do we take the square each of the terms?  If we did not take the square, but just added together all of the terms xi - <x>, we would get zero.  To see this, just look at the definition of <x>!  The point is that data which falls below the average is balanced by data which falls above that average.  Roughly speaking, by taking the square, we make all the terms positive and end up finding the (root mean square) distance of a typical data point from the average, independent of whether it is above or below the average.

(iii) Does x get bigger if we measure more data points?   No.  The standard deviation does not tend to get bigger (or smaller) as you take more data points.  Physically speaking, x is just the typical distance a data point is from the average.  As you take more data, you tend to get a more accurate value for the true value of x, not a bigger value.

(7) The weighted mean <x> and the error in the weighted mean <x>

In some of the labs, you will need to find the best estimate for a measured parameter by combining together measurements which have different sizes of errors.  For example, some of your measurements will be made with a ruler and some with vernier calipers.  The measurements made with the calipers will be much more accurate than those taken with the ruler.  If we want to combine together data from measurements with different errors, we need to use the weighted average

x=i=1NxiΔxi2i=1N1Δxi2	[A.12]

Notice that in this expression, each measurement gets multiplied by 1/xi2 before it is added to the other measurements.  The factor 1/xi2 can be thought of as the importance or "weight" of the measurement.  Thus if x1 = 1 mm and x2 = 0.1 mm, then the second measurement is 100 times more important that the first.  From this you can see that it really pays to make more accurate measurements, they carry a lot of weight!  If we want to simplify Equation A.12, we can define the weight of the i-th measurement as wi, where

wi = 1/xi2	[A.13]

and rewrite Equation A.12 as:

x=i=1Nwixii=1Nwi	[A.14]

Notice that the denominator is just the sum of all of the weights, so that it acts to normalize out the total weight of all the measurements.

The error in the weighted mean is given by

Δx=1i=1N1Δxi212=1i=1Nwi12	[A.15]

Notice that the error in the weighted mean is just the square root of the same term which appears in the denominator of the weighted average.  If you want to remember this result, notice that it is just says that the error in the average is one over the square root of the total weight.  Squaring an rearranging would give you an equation which says that the total weight is one over the square of the error in the mean.  This is the same relationship as Equation A.12, except now it is for the mean rather than an individual measurement.

Excel Tip:   Excel does not have a command for calculating the weighted mean or the error in the weighted mean.  The easiest way to calculate the weighted mean is to set up three columns, the first with the data in it, the second with 1 over the square of the error in each measurement, and the third with the product of the first and second columns.  To get the weighted mean you then sum the third column and divide by the sum of the second column.

(8) Everything you need to know about 2.

This section briefly discusses everything you need to know about 2.

How to calculate 2

In order to calculate , you need three things: N measured data points (x1, x2, ...xN), a theory which tells you how big each of the data points was supposed to be (we'll call this xi,theory for the i-th data point), and estimated errors for each measurement (x1, x2, ...xN).   can then be found from the formula:

χ2=i=1Nxi−xtheoryΔxi2

For example, suppose that you made 5 measurements (N=5, x1=1.1, x2=1.2, x3=1.5, x4=1.5, and x5=1.3), that the theory says that x should have been 1.25, and that the estimated error in each measurement wasxi=0.15.  Then:

χ2=i=15xi−1.250.1521.1−1.250.152+1.2−1.250.152+1.5−1.250.152+1.5−1.250.152+1.3−1.250.1520.150.152+0.050.152+0.250.152+0.250.152+0.050.152=1+0.09+2.78+2.78+0.09=6.74

Excel Tip:  Excel does not have a specific command for calculating 2.  The easiest way to calculate it is to set up five columns, the first with the data in it, the second with the theory in it, the third with the difference between the theory and data, the fourth with the error in it, and the fifth with the square of the third column divided by the square of the error in the data.  To get 2, you then sum the last column.

| i | xi | xi,theory | xi-xi,theory | x | (xi-xi,theory)2/x2 |
| --- | --- | --- | --- | --- | --- |
| 1 | 1.1 | 1.25 | 0.15 | 0.15 | 1 |
| 2 | 1.2 | 1.25 | 0.05 | 0.15 | 0.09 |
| 3 | 1.5 | 1.25 | 0.25 | 0.15 | 2.78 |
| 4 | 1.5 | 1.25 | 0.25 | 0.15 | 2.78 |
| 5 | 1.3 | 1.25 | 0.05 | 0.15 | 0.09 |
|  |  |  |  |  | sum= =6.74 |

The degrees of freedom 

In order to use  you also need to know , the "degrees of freedom" in your experiment.  In these labs there are only two cases of practical importance:

- You did not use any fitting parameters or averages to compute the theoretical values used in 2.  If the theory is given and you did not use any of your data to fit the theory to the data, then the degrees of freedom is equal to the number N of data points, i.e. =N.

- You are using 2 to compare your data to its average.  If you are using  to compare your data points to the average of your data, then you have used your data once to compute the average, so there is one less degree of freedom and =N-1.

- Fitting parameters or averages were used to find the theory.  If you computed your theoretical values (used in ) by averaging your N data points or by using a fitting routine, then v = N-, where is the number of fitting parameters you used.  For example, if xtheory = <x> then you computed one parameter, the average, from your data, so that = 1 and = N-1.  If you used Excel to fit your data to a straight line, and used the slope and intercept of the line to compute theoretical values, then you used two fitting parameters (slope and intercept), so that = N-2.

and what ittells you about your experiment

Once you have found  and , it is a simple matter to divide the two and find the "reduced value of ".

What makes  so important is what it can tell you about your experiment.  There are three cases:

(i) ≈ 1.  This means that your results and theory are consistent to within your experimental errors.

(ii)   >> 1.  This means that it is very likely that something is wrong! There are three possibilities:

(a) You have made an illegitimate error in measuring the data, calculating the theory, recording your data or errors, or analyzing your data.  To determine if this is what happened, you need to go back and look at your data and theory and see if the numbers are reasonable.  Be especially careful of bad units.

(b) You have underestimated the size of the errors you are making in your measurements, or, the quantity you are trying to measure has a distribution of possible values.  To determine if this is what happened, look at the scatter in your data and see if it is much larger than your estimated error.

(c) If you can rule out (a) and (b) above, then having  much bigger than 1 strongly indicates that the theory is wrong.

(iii) << 1.  This also means that it is very likely that something is wrong!  There are only two possibilities:

(a) You have overestimated the size of your errors, that is, you have actually measured things much better than your claimed errors.  You will need to go back and get a more accurate, and less conservative, estimate of your errors.

(b) You have made an illegitimate error in calculating .  Most likely you have used the wrong units or made a simple computational error.

You may be wondering how much bigger or smaller than 1 that  has to be for something to be clearly wrong, or how close to 1 does  have to be for you to say that the theory and experiment agree.  This can only be answered by considering the quantity  P(), which is discussed next.

What is P(2,) and how do you find it

Suppose you have found a value for  and that you have  degrees of freedom.  Then P() is the probability that random errors will cause  to be larger than you found.  You can use the Excel function CHIDIST(2,) to calculate P(2,).

What does P(2,) tell you about your experiment

As discussed above, the value of  can tell you if something is wrong with your experiment or if it agrees with theory.  P(2,) does the same thing, except that it provides a more precise statement of the agreement between theory and experiment.  This section uses a few examples to help you understand P(2,).

(i) P(2,≈ 0.5 means everything is OK.

Suppose you have 8 degrees of freedom (=8) and have found that 2=8 so that 2/=1.  From our discussion of 2/ above, we know that when  is close to 1, our results are consistent with the theory.  We expect then that P(2,) should tell us the same thing.  If you use CHIDIST, you will find that P(2=,=) ≈ 0.40 (because 2/=1 is about halfway between the P=0.3 and P=0.5 columns).  What this means is that if you repeated the experiment many times, you would find that 40% of the time your random errors (with the size you used in calculating ) will produce a  which is bigger than 8.  Logically this also means that 60% of the time random errors will produce a  which is smaller than 8.  This means that random errors are just about as likely to produce a bigger or a smaller value of .  If you think about this, you will realize that this is just what you would expect if the theory is in agreement with the data.

(ii) P(2,) considerably smaller than 0.5 means something is wrong.  Suppose you have 8 degrees of freedom (=8) and have found that 2=16 so that 2/=2.  From our discussion of 2/ above, we know that when  is much bigger than 1, our results are not consistent with the theory.  Using CHIDIST, you would find that P(2=,=) ≈ 0.05.  What this means is that if you repeated the experiment many times, you would find that about 5% of the time your random errors (with the size you used in calculating ) will produce a  which is bigger than 16.  Logically, this also means that 95% of the time random errors should produce a  which is smaller than 16.  This means that random errors are much more likely to produce a value of  which is smaller than you found.  Another way to say this is that 5% isn't very big, so that it is rather unlikely that random errors could have produced a  as large as you found.  This is equivalent to saying that the theory is not in good agreement with the data.

(iii) P() considerably larger than 0.5 means something is wrong.  Suppose you have 8 degrees of freedom (=8) and have found that 2 = 2.7 so that 2/= 0.33.  From our discussion of 2/ above, we know that when  is much smaller than 1, we have probably made an illegitimate error or used too large of an error estimate.  You would find that P(2=,=) ≈ 0.95.  What this means is that if you repeated the experiment many times, about 95% of the time your random errors (with the size you used in calculating ) will produce a  which is bigger than 2.7.  Logically, this also means that only 5% of the time random errors should produce a  which is smaller than 2.7.  This means that random errors are much more likely to produce a value of  which is larger than you found.  Another way to say this is that you should have expected random errors to produce a value of  larger than you found.  This is equivalent to saying that the data has too little scatter in it to be consistent with your estimated errors, so something is wrong with your analysis.

There are some things which you should remember about P(,).  First, it is providing the same information as 2/, but it does a better job.  In particular, it lets you know precisely how much bigger or smaller 2/ has to be compared to 1, before you can be suspicious that something is wrong.  Second, notice that P(,) can only be understood statistically.  Thus, if you find P(=8,=8)=0.5, this does not mean that the theory is definitely correct.  Rather, it means that the theory is statistically consistent with the data.  Similarly, if you find P(,)=0.01 it does not mean that your theory is definitely wrong or that you have necessarily done anything wrong in the experiment; in fact, 1% of the time you should expect to find P(,)=0.01.  It just says that you wouldn't expect this to happen more than 1% of the times you tried the experiment, so you better check things to see if something else isn't wrong.  Finally, as a rough guide, a value of P that is smaller than 0.05 or larger than 0.95 signifies a significant disagreement between theory, data and errors.

(10) Uncertainty in the Slope and Intercept

Suppose you have some measured data with error bars and you have to fit the data to a straight line.  From such a fit, you will be able to extract the slope and intercept of the line.  Since each point has an uncertainty, the resulting best fit values for the slope and intercept will have uncertainties.  In this section, we show how you would go about deriving the uncertainties in the slope and intercept for the case where each data point has the same error.  For a full derivation, consult an error analysis book such as Lyons.

In some of the Physics 275 experiments, you will be fitting your data to a line or a quadratic expression where you will also want to know the errors in the resulting parameters of the fit.  For example, you will do a 2 fit to a theory that says that velocity v changes linearly with time t.  If we plot the v versus t, we expect to find a straight line with a slope "a" that is just the acceleration and in intercept “b” which is just initial velocity (velocity when t=0).

To find the best fit values for a and b you have to first form the sum:

χ2=i=1Nati+b−vi2Δvi2
                    	[A.16]

where vi is the measured velocity at the time ti, the total number of data points in the segment is N, and the uncertainty in a velocity data point is v, the same for every point.  You can now find the best fit values for a and va by minimizing 2 by varying parameters a and b.  Mathematically, this means that you find the a, b for which:

0=∂χ2∂a=i=1N2tiati+b−viΔvi2
                    	[A.17]

0=∂χ2∂b=i=1N2ati+b−viΔvi2
                    	[A.18]

These two expressions will give you two equations and two unknowns (a and b), so a and b can be determined completely analytically. Once a and b are know, we can use propagation of errors to find their uncertainties.  This is precisely what the Excel macro LinFit does when it fits your data to a line.

(10) Summary of Some Formulas Used in Error Analysis

In the following formulas, xi denotes the i-th measurement of the physical quantity x, xi denotes the estimated random experimental error in xi, and a total of N measurements were made.

Propagation of Errors; suppose f is a function of the variables x1, x2,..., xN.

The error in f due to errors in x1, x2,..., xN is

Δf=i=1N∂f∂xiΔxi2

Standard Deviation, in Excel use =stdev(...)

σx=1N−1i=1N(xi−x)212.

Note: For most experiments, one expects that x ≈ xi, i.e. the standard deviation  is about equal to the estimated experimental error in one measurement of x.

Mean, in Excel use =average(...)			Error in the Mean

(use if each measurement has the 			(each measurement

same experimental error)				has experimental error x):

x=1Ni=1Nxi					Δx=ΔxN

Weighted Mean:					Error in Weighted Mean:

x=i=1NxiΔxi2i=1N1Δxi2					Δx=1i=1N1Δxi212

2 (chi-squared)	χ2=i=1Nxi−xtheoryΔxi2	reduced 2	χ2v

Degrees of freedom in 2.........= N-  (where N is the number of measurements and  is the number of fitting parameters used to find the theoretical value from the data)