Name:							Date 10/23/2000

Section											Exam 1

First Practical Exam	- Physics 275

- You should be able to finish the exam in about two hours.

- When a blank space is provided on the exam to answer a question, you must write your answer in the space.  Do not waste time typing these answers into the spreadsheet.

- Your instructor will give you a blank disk which you need to write your name on.  Do not use any other disks during the exam.

- Open up and Excel file. Put your name, the date, and your section number in it. Save your spreadsheet on your exam disk and name it according to your instructors directions.  You will need to carry the disk with you as you work through the review.

- There are 10 questions on the exam and they cover the four experiments you worked on.  Look around the room and find an open setup.  Find the corresponding part of the exam and begin working on it.  When you are finished with that part, go to the next open set-up.

- Don't forget your disk.

Part A: Dice

Q1. (a) Roll the dice 24 times and, for each roll of the dice, record the face value in your spreadsheet.

(b) Plot a histogram of the frequency with which each face value appears.

(c) What is the average frequency you expect?

Q2. Find the average, the standard deviation, the uncertainty in the average, of the 24 upper face values you recorded.

Average =

standard deviation =

uncertainty in the average =

Part B: and Radioactive Decay

Q3. Using the source find the operating voltage which is 75 volts above the threshold voltage.  Then, without the source, do 10 half-minute measurements of the background counts.

(a) Record the data in your spreadsheet.

(b) Find the average number of counts in a half minute for your background data.

Average =

Q4.  (a) What is the uncertainty in one half-minute measurement (say your first measurement) of the background counts ?

uncertainty in one half-minute measurement  =

(b) What is the uncertainty in your calculated value for the average number of background counts ?

uncertainty in the average =

(c) Explain how you found the uncertainty in your calculated value for the average number of background counts

Part C: Position, Velocity and Acceleration

Equipment: Tilted air track and sonic ranger.  Place the sonic ranger at the top end of the track.

Q5. Use Logger Pro and the sonic ranger to take some data and use it to find the accuracy of the sonic ranger.  You will need to figure out what data it is you need.  Also, briefly explain what you did and how you found the accuracy using LinFit.xls (no explanation- no credit).

Q6. Determine the precision of the sonic ranger.  Explain what you did using complete sentences (no explanation- no credit).

Part D: Impulse

Q7. Use Logger Pro to Collect some force data on a collision in which the clay ball hits the force probe. Measure the distance of the drop.   The system should be set up with a sampling rate of 1000 samples per second and the pretrigger is disabled (if you run into trouble with the setup of Logger Pro, just ask your instructors).

(a) What is the uncertainty in each of the forces you measured above?

(b) Explain how you found the uncertainty in each of the forces you measured above

Q8 Using the force data, compute the impulse versus time.

Q9 Using propagation of errors, what is the uncertainty in the impulse I at time t.

Q10. The following table has some force versus time data. Assuming that the uncertainty in each force measurement was 0.1N, use χ2 to fit this data to a theory of the form F=At2+Bt+Fo.  Make sure that you optimize the fit for all three parameters (A, B, Fo).  What is the best fit value for χ2 and A.

A =

χ2 =

P(χ2,v)

| t | F |
| --- | --- |

| (sec) | (N) |
| --- | --- |

| 1 | 1.01 |
| --- | --- |

| 2 | 0.95 |
| --- | --- |

| 3 | 0.80 |
| --- | --- |

| 4 | 0.70 |
| --- | --- |

| 5 | 0.57 |
| --- | --- |

| 6 | 0.46 |
| --- | --- |

| 7 | 0.33 |
| --- | --- |