# Gamma-Gamma Angular Correlation

## References

Brady, E. L. and Deutsch, M., “Angular Correlation of Successive Gamma- Rays,” Physical Review 78, no. 5 (1950), pp. 558-566.

Frauenfelder, H. and Steffen, R. M., “Angular Distribution of Nuclear Radiation,” in Alpha-Beta-Gamma Ray Spectroscopy, Kai Siegbahn, ed., pp. 997- 1039.

Melissinos, A. C., Experiments in Modern Physics (New York:  Academic, 1966).

Singru, R. M., Introduction to Experimental Nuclear Physics (John Wiley & Sons, 1974), pp. 103-120.

## Preparatory Questions

(must be answered in lab book before experiment is started and signed by instructor or TA)

- How can one measure the coincidence resolving time for this experiment?

- What is the angular correlation function for the 511 keV -rays from 22Na?  What does one learn from the measured width of this correlation?

It is highly recommended that you complete experiment VII before attempting this experiment.  Experiment VII will introduce you to the detectors and electronics used in this measurement.

## Introduction and Purpose

The purpose of the lab is to introduce the student to coincidence and angular correlation techniques.  Just as in the case of the atom, electromagnetic radiation is emitted when a nucleon is in an excited orbital and makes a transition to a lower energy orbital.  However, in this case the energy of the transition is higher and a -ray with energy in the MeV range is emitted rather than a visible photon with energy in the eV range.  Often when two gamma rays are emitted in rapid succession from a nucleus, the directions of the emission of the two rays are correlated.  Assuming the first ray is emitted in the z-direction, the probability of detecting the second gamma is dependent on the angle  (with respect to the z-axis).  If two detectors are used in coincidence, and the coincidence counting rate C() is observed as a function of the angle  between the detectors, the angular correlation function C() often depends upon the angular momentum of the final states.  These measurements can give information about the angular momentum of the nuclear states.

## Sodium-22 Correlation

Sodium-22 decays by beta-plus decay (90%) (one of the protons in the nucleus decays by p  n + e + ) and electron capture (10%) (one of the atomic electrons captures on a proton by p + e  n + ) into an excited state of neon, which then decays to its ground state by emitting a 1277 keV gamma ray.  The angular correlation of sodium-22 arises from the following process:

The positron produced will be slowed down in the material surrounding the source (by electromagnetic interactions) and is captured by an electron, forming positronium.  The positronium at rest then decays through pair annihilation to form two gamma rays of energy 511 keV each, the rest mass of an electron.

Figure IX-1

To conserve momentum, the gamma rays must propagate in opposite directions.  The angular correlation between the two 511 keV -rays from 22Na is therefore theoretically given by .  However, there is a finite width of the angular correlation due to the finite angular resolution of the detectors used in the experiment.  Because of the sharp correlation of 22Na, it is often used for calibration purposes.

## Cobalt-60 Correlation

Cobalt-60 decays, by emitting a beta minus (n  e + p + ), into an excited state of nickel.  The 60Ni nucleus then decays to its ground state by the emission of two cascaded  rays (see Fig. IX-2).  The lifetime of the intermediate state is 8 x 10-13 seconds.  We can then consider the two photons as being emitted in coincidence.  The gammas have energies of 1.333 and 1.172 MeV.

Figure IX-2

The angular correlation of the emitted radiation is much more complicated than that of sodium-22.  The correlation of the gammas can be understood by the following argument:  The first gamma will have an angular distribution with respect to the spin axis of the nucleus; thus, its observation at a fixed angle =0 conveys information about the probability of finding the spin at some with respect to the direction =0.  Now the second gamma ray also has some angular distribution about the spin axis which is now known to be at.  Thus, the probability that the second gamma ray will be emitted at an angle  can be found.  This is called the angular correlation function C().  The time coincidence signal assures us that the two gammas have indeed come from the same nucleus and, therefore, are the two gammas of interest.

It can be shown from theoretical considerations that the correlation function takes the form

Aθ=CθC90=1+acos2θ+bcos4θ .			IX-1

The constants a and b are given by

a=0.125=18b=0.042=124

Alternatively we could write this function in terms of Legendre's polynomials.

Aθ=1+A22P2cosθ+A44P4cosθA22=0.1020A44=0.0091

For a detailed description of how these are derived please check the references.

## Experimental Setup

The setup for the experiment (figure below) consists of the two NaI detectors set at a fixed distance (distances of 8 to 10 inches are recommended) from a radioactive source.  One detector is fixed and the other is free to rotate. The signals from the detectors are fed to a coincidence circuit that enables us to get a coincidence counting rate at each angle.  The distances and angles are clearly marked on the table in inches and degrees.  The radiation sources are located in the cabinet and care should be taken in their handling.  The two of interest to us are 22Na and 60Co.

Figure IX-3

The circuit for this experiment (see Fig. IX-4) consists of a series of modules that are arranged to analyze the incoming pulses from each detector, decide if the pulses are in coincidence and if so send one of the NaI pulses to a multichannel analyzer for pulse height analysis.  It is recommended that the high voltage supply (HV) be turned on prior to the experiment and let warm up for 1/2 to 1 hour.  This is to reduce the possibility of a shift in the gain during data-taking.  All thresholds and widths associated with the output pulses have been preset and it is suggested that they not be changed.  However, it is necessary to check the pulses from each unit to insure proper behavior.  A brief description of the equipment follows.

### Sodium Iodide (Th) Scintillation Counters

The two detectors for this experiment are NaI counters doped with thallium.  These detectors are described in detail in Experiment VII and it is suggested that the part pertaining to their operation be read.  When a gamma ray interacts with the NaI crystal visible light is produced, the number of photons being proportional to the energy lost by the -ray.  This light falls upon the photocathode of a photomultiplier tube that produces an output, again proportional to the energy loss of the gamma ray.  This output can be seen by sending the output of the photomultiplier directly to the oscilloscope (see scope usage). See also Experiment VII.

### Fan-Out

The signal from each photomultiplier tube is sent to the input of a linear fan-out, which splits the signal, providing four separate identical outputs.  These can then be fed to several different circuits.

Figure IX-4

### Fan-In

The signals from both photomultiplier tubes are sent to the inputs of a linear fan-in which sums the two input signals before sending the summed signal to the ORTEC amplifier.

### Discriminators

The discriminator takes an input signal and outputs a standard logic pulse for every signal above a preset threshold.  The logic pulse is 0.5 volts and the width is adjustable to the needs of the experiment.  (These are preset and should only need to be checked.)  (See Fig. IX-5.)  These standard pulses are needed as input for the coincidence circuit.  Note that the threshold level relative to the NaI linear pulse can be examined by sending the NaI fan-out output to the oscilloscope and triggering the oscilloscope with the discriminator output.  You must make sure that the threshold is safely below the 511 keV line for 22Na.

Figure IX-5

### Delay

The logic pulses from the discriminators pass through a variable delay box so that the two pulses arrive at the coincidence circuit simultaneously.  We can adjust the delay in steps of 0.5 nsec up to a total of 63.5 nsec.  To examine the relative timing between these two pulses use a 22Na source and send the output from each delay unit of the two scope inputs.  Then trigger the scope with one of the discriminator outputs.  You should see two pulses, one narrow and one broad, which overlap in time.

### Coincidence Circuit

The outputs from the discriminators are fed through variable delays to a four-fold coincidence circuit which generates an output pulse whenever there is an overlap of logic input pulses from all input channels that are set to IN.

### Amplifier

The amplifier takes the linear pulse from the NaI fan-out, shapes and amplifies it, and provides an output suitable for analysis by the multichannel analyzer.  The gain of the amplifier should be set so that the maximum energy pulse is less than about 7 volts.

### Gate

The gate controls the input to the MCA.  Whenever a logic signal from the coincidence circuit is sent to the gate input, the gate is opened for a preset time.  This enables the amplified pulse from one of the photomultiplier tubes to be sent to the MCA.  This pulse is the same one that was split at the fan-out and used for coincidence requirement.

### Level Adapter

The level adapter takes an input pulse and converts it to the type of pulse needed by the scaler (NIM to TTL).

### Scalers

The scaler records the coincidence rate.  Therefore, it records the rate at which pulses are sent into the MCA; for gate selection pulse inhibit it measures the individual detector counting rates, for normal it reads the coincidence counting rate.

## Use of the Oscilloscope

We can use the oscilloscope in this lab to check the outputs of the discriminators and the photomultiplier. The guidelines below are assume usage of the Tektronix 2245A scope. If you wish to use the digital scope, (Tektronix TDS360 ) see either experiment XI or the scope manuals for further information.

The two input channels (1 or 2) can be used to display the NaI pulses. Connect the signals to the appropriate channel and choose the display via the buttons in the section labeled MODE. The vertical gain can be adjusted independently for each channel. Turn up the READOUT intensity to see the vertical and horizontal scales across the lower portion of the screen.

The horizontal sweep can be triggered externally or by the pulse itself.  Set the trigger select to A, the mode to NORM, the channel to either 1 or 2 (depending on which input you’ve chosen) and the coupling to DC.  Choose the trigger slope to be positive or negative depending on the type of signal you’re looking at, and adjust the trigger level until a trace appears; the TRIG'D indicator will light whenever a pulse has triggered the display.  The signal height and width can be measured using the MEASUREMENTS buttons and the TIME/POSITION cursors.

The pictures in Fig. IX-6 are similar to what you should expect to see with the 22Na source present.

Figure IX-6

## Procedure

- Turn the high voltage switch to standby and let the supply warm up for a few minutes.  Adjust the voltage to approximately 1300 volts.  (DO NOT EXCEED 1500 V.)  Turn the switch to on.  Make sure the power supply has been on for at least 1/2 hour before taking any data for the correlation measurements.  This is to reduce the possibility of a gain shift while data are being taken.

- Turn on the power to the instruments in the NIM bin (switch located on the right of the bin).

- Turn on the computer and start up the MCA program.  (See MCA section in experiment VII, or Appendix C.)

- Turn on the scope and adjust it to look at the discriminator or photomultiplier outputs.

- Take the 22Na source from the cabinet and place it at the center of the apparatus between the two detectors.  The Geiger counter must be placed near the source and turned on so as to remind you there is radiation present.  FEDERAL REGULATION.

The two detectors should be at an angle of 180°.  The source should be located at the same height as the center of the detector.  Also adjust the position of the source in the plane of the two detectors so that the coincidence counting rate is at a maximum.  This is important due to the sharp distribution of the emitted coincidence photons that are being detected.  The source needs to be placed with the best accuracy on the line joining the center of the detectors.

- Switch the gate to pulse inhibit (this allows only non-coincident events).

- With only one input at a time to the Fan-In unit (see electronic block diagram (Fig. IX-4), acquire the non-coincidence spectrum of 22Na to make sure the system is working.  (You should see peaks at 511 and 1279 KeV and some background.)  Adjust the amplifier gain (or HV) for the first input signal so that the 511 KeV peak falls at about channel 400 on a gain setting of 2048.  You can also perform a two-point energy calibration using the MCA if you wish to be more accurate.  For the second input signal, the gain can be adjusted by turning a pot at the back of the photomultiplier tube base.  After the gain is matched, put both inputs back to the Fan-In unit.

- Switch GATE to normal.

The finite resolving time of the coincidence circuit gives rise to accidental coincidences.  The smaller the resolving time, the smaller the accidental counting rate.  We can measure the resolving time of the circuit as follows.  Delay the input of one of the input channels to the coincidence circuit using the delay box.  Measure the number of coincidences for a fixed time interval as a function of the relative delay between the two input pulses to the coincidence unit.  A plot of coincidence counting rate vs. variable delay will give a trapezoidal shaped curve.  The full width at half maximum is defined to be twice the resolving time.  A method of generating the delay curve is to:

- Set the delay in channel B to zero.

- Acquire the coincidence spectrum for 22Na for increasing delay times in channel A in steps of 4 ns to a total delay of 60 ns or until the coincidence counting rate is small (10 cts/sec).

- Repeat steps (1) and (2) with the delay in channel A set to zero and increment delay in channel B.  In step (4), when plotting the delay curve, the delays for this step are to be treated as negative delays.

- Plot counts/sec vs. delay time.

- Make a delay curve for the 22Na in coincidence.  When completed, set the delay time in the center of the flat part of the delay curve.  Keep the delay settings the same for the rest of the experiment.

The counting rates are recorded in two ways.  First, record the total number of coincidence counts.  This can be done either by reading the scaler that records coincidence counts or by summing over the spectrum in the MCA.  Second, record the number of coincidence counts in the peaks that form on the MCA.  This can be done by setting a ROI (see MCA section) to the desired channels and getting the integral readout (or use either Mathematica or the program ANALYSIS).  Is there any noticeable difference between these two methods?

- Make the angular correlation measurements for the Na source.  Run- times of a few minutes are long enough since the counting rate for coincidences from 22Na is fairly high at distances of 8-10 inches and an angle of 180°.  Use steps of about 5°.  You should verify that the correlation curve is peaked at 180° and find the resolution of the system.  Is this resolution consistent with the dimensions of the NaI detectors?

- Replace the 22Na source by 60Co.  Make the angular correlation measurements in steps of 15°.  Run times of 1/2 to 1 hour are recommended as the counting rate is fairly slow and it takes time for the peaks at 1.1 and 1.3 MeV to form.  Make measurements between 180° and 90° in steps of 15°.  First change the angle in 30° steps in one direction, then fill in the intermediate angles moving in the other direction.  This will help you notice any temporal drifts.  Record coincidence counts and singles counts from each detector.

Make a least squares fit to the 60Co angular correlation data, properly accounting for the errors in the data points.  To take into account the finite solid angles of the detectors used, a Monte Carlo simulation program, MC, should be used to generate the pseudodata.  Fit these Monte Carlo-generated pseudodata in order to extract the theoretically expected coefficients a and b (or A22 and A44) before comparing them with the experimental values.  The computer programs to do these and information about them will be available at the lab station, or ask the instructor.